MEASUREMENTS OF CHARGE RADII AND ELECTROMAGNETIC MOMENTS OF NUCLEI FAR FROM STABILITY BY PHOTOIONIZATION SPECTROSCOPY IN A LASER ION SOURCE

A.E.Barzakh, D.V.Fedorov, V.S.Ivanov, F.V.Moroz, S.Yu.Orlov, V.N.Panteleev, A.G.Polyakov, M.D.Seliverstov, Yu.M.Volkov

1. Introduction
During the last decades many nuclei far from stability have been investigated using laser based spectroscopic techniques. The study of atomic isotope shifts and hyperfine structures provides evaluation of nuclear spins, electromagnetic moments and changes in mean square charge radii ( (r2(. 

At the IRIS mass-separator at the PNPI synchrocyclotron laser investigations have previously been performed using resonance photoionization spectroscopy in an atomic beam [1]. This experimental technique enables successful experiments with the isotopes at a production rate down to 104 atoms per second. To extend the investigations to the more neutron deficient isotopes (first of all to the region of neutron deficient Yb and Tm isotopes near magic neutron number N = 82) photoionization spectroscopy in a laser ion source has been applied.

      In this region a deviation from the established systematic behaviour of the isotope shifts for the Yb isotopes with N = 82–84 has been recently reported (see G.D.Sprouse et al., Phys. Rev. Lett. 63, 1463 (1989)). The measurements indicate that the charge radii of Yb isotopes, between N = 82 and N = 84, increase far more rapidly than those in the other isotopic chains in this region. A strong deformation jump at N = 84 (154Yb) was supposed to cause this surprising effect (G.D.Sprouse  et al).  It is of interest to measure the isotope shifts and hyperfine structures of the adjacent odd isotopes, 153, 155Yb, in order to estimate the deformation value of the Yb isotopes with N = 82–86. Besides, it is of importance to investigate the isotopes of the neighbouring elements with the same neutron number.

2.  Experimental method
In this work we have used the method of photoionization spectroscopy in a laser ion source [2]. Atoms are ionized by step-by-step resonant laser excitation to autoionizing states or continuum. The following ionization schemes were used:

– for Yb atoms: 

6s2 1S0
[image: image1.wmf]¾

¾

¾

®

¾

nm

6

.

555

 6s6p 3P1
[image: image2.wmf]¾

¾

¾

®

¾

nm

1

.

581

4f13(2F7/2)6s26p3/2
[image: image3.wmf]¾

¾

¾

®

¾

nm

1

.

581

autoionizing state (or continuum), 

– for Tm atoms:

4f136s2 2F0
[image: image4.wmf]¾

¾

¾

®

¾

nm

1

.

597

4f136s6p (7/2,0)7/2
[image: image5.wmf]¾

¾

¾

®

¾

nm

3

.

600

4f135d6s
[image: image6.wmf]¾

¾

¾

®

¾

nm

4

.

552

 autoionizing state. 
The experimental set-up is presented in Fig. 1. Nuclides under study were produced in the tantalum target (12 g/cm2) of the mass-separator by 1 GeV protons. The atoms were thermally released from the target to the ionizer tube (1.5–2.5 mm in diameter, 60 mm in length) made of Nb or W, where they were ionized by the beams of three pulsed dye lasers merged into a single beam. The dye lasers (of average power ~ 300 mW) were pumped by three copper vapour lasers at a repetition rate of 9 kHz. The frequencies of the dye lasers were tuned to the resonance transitions of the chosen excitation scheme. The radiation frequency of the two broadband lasers (bandwidth 30 GHz) were fixed in accordance with the second and the third step excitation frequencies. In the experiments with 153Yb the radiation of the broadband laser was amplified in a dye cell amplifier pumped by copper vapour laser. Average power of the laser+amplifier system was 900 mW. The wavelength of the narrow band laser (bandwidth 1 GHz) was scanned. On resonance the photoion current in the mass-separator collector increases. Thus, the experimental spectra represent the dependence of ion current on the scanned laser frequency. 

The high efficiency of the method provided by the following factors. Multiple intersection of the laser beam by the atoms in the laser ion source cavity considerably increases the probability of photoionization. At the same time electron emission from the heated tube wall creates an electric potential near the wall, which traps photoions near the central axis and prevents their recombination on the wall surface. The electric field created by the heating DC drives photoions towards the extraction electrode of the mass-separator. A portion of the scanning laser radiation was directed to the Fabry-Perot interferometer (free spectral range 5 GHz) to produce the frequency marks for frequency scale calibration. Another part of the laser beam was used in a reference chamber to provide a reference spectrum from the sample of stable isotopes. Two modes of photoion detection have been used:

(1) direct registration of the ion current by the channel electron multiplier (when selectivity was high enough), and

(2) registration of the (-particles from the decay of the isotopes under investigation. 

[image: image7.png]to analyser
signal of
reference isotopes

analyser

FPI
marks

signal

to counter

signal of the isotope
under investigation





Fig. 1. Experimental setup 

1 – Cu-vapour lasers; 2 –broadband dye laser; 3 – narrowband scanning dye laser; 4 – Fabry-Perot interferometer; 5 – photodiode; 6 – reference chamber; 7 – laser ion source; 8 – target; 9 – extraction electrode; 10 – mass-separator; 11 – (-detector, 12 – tape-driving device; 13 – channel electron multiplier

Background ions are produced by the surface ionization inside the ion source and the target as well. If the production rate of isobars is significantly higher than that of isotope under study, the background ion current can make the direct ion counting by the electron multiplier impossible. In such case an isotope selective method of registration is required.

In our experiments a high temperature target (T ( 2500(C) has been used. In this case the main part of the background current comes from the target itself. In order to extend the applicability of the RIS/LIS technique a new method of isobar suppression has been developed [3] and applied. In this method suppression is provided by the locking of the background thermoions inside the high temperature target by a potential of the heating direct current flowing through the target container. The background current was reduced by a factor of 20 using this technique. The application of this method of background suppression has provided an opportunity to perform measurements of isotope shifts and hyperfine structures for radioactive Tm isotopes when isobaric contamination is severe.

3.  Experimental results
In experiments with 158–164Yb and 158–163Tm photoions were detected with the channel electron multiplier. The experimental spectra obtained in this experiments are shown in Figs. 2, 3. The measured IS are presented  in  Tables 1, 2 and compared  with  reference  data. In  the  experiments  with   153, 155, 156Yb and 153, 154Tm a selective photoion detection by registration of the (-particles from the decay of the isotopes under study was applied. For 153Yb the registration of the (-particles from the decay of its daughter nucleus (153Tm) was applied. The experimental spectra obtained in this experiments are shown in Figs. 4, 5. The measured values of the isotope shifts and the hyperfine structure constants and the corresponding values of ((r2(, (, and QS, calculated with the aid of the well-known scaling relations are given in Table 3. The measured value of isotope shift of 156Yb (((174,156 = 17610(120) MHz) is in agreement with that measured by Sprouse et al. (((174,156 = 17514(21) MHz). The total ionization efficiency calculated as the ratio of the experimentally observed ion beam intensity and calculated production rate of 156Yb is about 10%. The estimated minimal production rate of 153Yb or 153Tm yet sufficient for measurement of isotope shifts is equal to 102  nuclides per sec.

The data for the Tm isotopes can be compared with the analogous data for the Ho isotopes with the same neutron numbers and spins [4]. The magnetic moments of the Tm isotopes are very close to the corresponding single particle values and practically coincide with the magnetic moments of the isotonic isotopes with the same spin: (sp(11/2) = 6.9 n.m., ((151Ho, I = 11/2) = 6.93(2) n.m., ((152Ho, I = 9) = 5.92(2) n.m., ((152Ho, I = 2) = –1.02(2) n.m. The slope for the isotopic dependency of ( (r2( is very close to the corresponding values for Ho and Er. Thus the characteristics of the Tm isotopes with N = 84–86 do not noticeably deviate from the systematic trends in this region of the nuclide chart.
Table 1
 Isotope shifts of Yb isotopes, measured with the direct registration of the ion current by the electron multiplier 

Isotope
((174,A, MHz
((174,A, MHz [2]

166Yb
5327(100)
5290(4)

164Yb
7368(100)
7331(6)

162Yb
9703(100)
9710(8)

160Yb
12278(100)
12257(10)


Table 2
 Isotope shifts of Tm isotopes, measured with the direct registration of the ion current by the electron multiplier
Isotope
((169, A, MHz
((169, A, MHz [5]

163Tm
4140(80)
4101(20)

162Tm
5425(100)
5460(50)

160Tm
7590(190)
7538(40)

158Tm
10145(180)
10205(80)

[image: image8.wmf]-5000

0

5000

10000

15000

20000

2000

4000

 

158

Yb

4000

8000

 

 

160

Yb

4000

8000

 

 

 

counts

162

Yb

0

10000

 

 

 

163

Yb

0

20000

 

 

 

164

Yb

0

10000

frequency difference, MHz

 

 

 

 

174

Yb


Fig. 2. Experimental spectra of 158-164Yb

[image: image9.wmf]10000

15000

20000

25000

30000

35000

0

10

20

153

Yb

 

counts

frequency difference, MHz

40

80

155

Yb

 

 

counts

40

80

120

156

Yb

 

 

counts


Fig.  4. Experimental spectra of 153,155,156Yb


[image: image10.wmf]0

100

200

300

400

500

600

4000

8000

12000

0

100

200

300

400

500

600

6000

7500

9000

0

100

200

300

400

500

600

200

400

600

0

2000

4000

6000

8000

10000

400

600

800

163

Tm 

counts

 

162

Tm

 

160

Tm

frequency difference, MHz

 

158

Tm

                                 Fig. 3. Experimental spectra of 158-163Tm

[image: image11.wmf]0

20

40

 

 

154

Tm (

I

 = 9)

0

10000

20000

30000

40000

0

50

100

150

frequency difference, MHz

 

153

Tm (

I

 = 11/2)

10

20

30

counts

154

Tm (

I

 = 2)


               Fig.  5. Experimental spectra of 153,154Tm

The isotopic changes of mean square charge radii for Yb isotopes with N = 82–86 are presented in Fig. 6. Corresponding data (Otten, E.W., “Nuclear Radii and Moments of Unstable Isotopes,” in Treatise on heavy-ion science, Vol. 8, edited by D.A. Bromley, Plenum, New York, 1989, pp. 517(638) for Dy (Z = 66) and Sm (Z = 62) isotopes are also shown for comparison. The IS data for 152–154Yb point to the inverse odd-even staggering effect (see Fig. 6). Usually this effect corresponds to the development of static octupole deformation (Ra, Fr isotopes). In the case of near magic Yb isotopes the similar description seems to be doubtful. The small negative values of the spectroscopic quadrupole moment of 153,155Yb make also doubtful the explanation of the unusual ( (r2( behaviour by static quadrupole deformation. 

Table 3 

Ground state characteristics of 153Yb, 155Yb, 153Tm (I = 11/2), 154Tm (I = 2) and 154Tm (I = 9)

Isotope
((174,A , MHz
A, MHz
B, MHz
((r2( 174,A, fm2
(, n.m.
QS, b

155Yb
19115(80)
-1050(25)
160(80)
–1.623(8)
-0.913(22)
-0.5(3)

153Yb
21695(150)
-1210(30)
490(20)
–1.843(12)
-1.052(25)
-1.5(6)

Isotope
((169,A, MHz
A, MHz
B, MHz
((r2( 169,A, fm2
(, n.m.
QS, b

154,I=9Tm.
15520(150)
532(3)
200(500)
–1.522(15)
5.91(5)
-0.2(4)

154, I=2Tm 
15150(200)
-460(10)
-600(1200)
–1.486(19)
-1.14(2)
0.4(9)

153 I=11/2Tm 
16470(320)
1020(16)
-700(1300)
–1.615(31)
6.93(11)
0.5(10)

The errors shown in Table 3 are purely experimental. Systematic uncertainty for ( (r2( is determined by the uncertainty in the semiempirical calculation of the F and M values (Yb: F = –11.9 GHz/fm2, M = 296 GHz/a.m.u.; Tm: F = –10.3 GHz/fm2, M = 268 GHz/a.m.u.). It is supposed to be about 5% (according to Otten).

[image: image12.wmf]82

83

84

85

86

0.0

0.2

0.4

0.6

  Yb

  Dy

  Sm

 

 

d

 

á

r

2

ñ

N

, 82

, fm

2

Neutron number




Fig.  6. Change in mean square charge radii of Yb, Dy and Sm isotopes relative to N = 82

4.  Conclusion and outlook
The on-line experiments with neutron deficient Yb and Tm isotopes have shown a high sensitivity of the method of resonant photoionization in a laser ion source. The further development of this experimental method – enhanced Target-Ion Source system aimed to suppress thermoionic background – essentially widens the range of the applicability of the RIS/LIS method. Application of the other modes of registration, for example, by X-ray or (-detection enables the further extension of the region of applicability of this method of laser spectroscopy.

Full list of participants:

A.E.Barzakh,   Yu.S.Blinnikov,   D.V.Fedorov,   T.T.Fedorov,   G.G.Lemeshko,    V.S.Ivanov,    F.V.Moroz, 

S.Yu.Orlov, V.N.Panteleev, A.G.Polyakov, M.D.Seliverstov, Yu.M.Volkov.

Acknowledgements

We would like to thank D.M.Seliverstov for encouragement and support to our work.

References
[1]  V.S.Letokhov et al., J. Phys. G18, 1177 (1992).

[2]  G.D.Alkhazov et al., Nucl. Instr. Meth. B69, 517 (1992).

[3]  V.N.Panteleev et al., Hyp. Int. 127, 421 (2000).

[4]  G.D.Alkhazov et al., Nucl. Phys. A477, 37 (1988).







1
175

_1052123792.unknown

_1052123793.unknown

_1052123790.unknown

_1052123791.unknown

_1052123789.unknown

_1052123788.unknown

