COMPTON SCATTERING ON PROTONS BELOW PION THRESHOLD:

MEASUREMENT  OF ELECTRIC AND MAGNETIC POLARIZABILITIES OF  PROTON (PROJECT)

V.P.Chizhov, Yu.V.Smirenin

1. Introduction


The generalized (or Compton) constants of the proton electric (
[image: image142.wmf]w

w

w

w

w

¢

¢

=

¢

¢

¢

º

¢

¢

¢

d

)

const

,

(

dn

)

,

(

F

and magnetic (
[image: image2.wmf]b

 polarizabilities are extracted in the process of p elastic scattering by observing a deviation of the measured differential cross section ddΩ( is the energy of the incident photons,  isthe scattering angle)from its point-like value [ddΩpoint which takes into account only the charge (e), mass (mp), spin of the proton. The theoretical expression for ddΩ based on the low energy theorem (LET) for Compton scattering amplitude expanded to the second order over  can be written as follows (see V.A.Petrun’kin, Fiz. Elem. Chastits At. Yadra 12, 692 (1981); A.I.L’vov and V.A.Petrun’kin, Lebedev Institute Preprint No 258, Moscow (1988)):


[image: image3.wmf]

[image: image4.wmf])

(

)

,

(

)

,

(

4

int

w

r

q

w

s

q

w

s

O

d

d

d

d

po

+

-

W

=

W





                                                  (1)


[image: image5.wmf]

[image: image6.wmf](

)

ú

û

ù

ê

ë

é

-

-

+

+

+

¢

÷

ø

ö

ç

è

æ

¢

=

2

2

2

)

cos

1

(

2

)

cos

1

(

2

4

2

q

b

a

q

b

a

w

w

w

w

p

r

p

m

e

.

Here is the structure term, 
[image: image7.wmf]w

¢

is the energy of scattered photon, 
[image: image8.wmf]4

are the neglected terms of higher order structure constants. It is supposed that the terms 
[image: image9.wmf]4

are small for 
[image: image10.wmf]mass)

pion 

 

 the

is

 

(

p

p

w

m

m

<<

.

The sum (
[image: image11.wmf]a

+
[image: image12.wmf]b

 is also constrained by the dispersion sum rule (see A.M.Baldwin, Nucl. Phys. 18, 1612 (1960); A.M. Damashek and F.J.Gilman, Phys.Rev. D1, 1319 (1970)):

             
[image: image13.wmf]a

+
[image: image14.wmf]b

 = 
[image: image15.wmf]3

4

tot

0

2

2

fm

10

)

3

.

0

2

.

14

(

)

(

d

2

1

-

¥

×

±

=

w

s

ò

w

w

p

,

where 
[image: image16.wmf]tot

is the total p cross section. The integral is evaluated using the experimental data 
[image: image17.wmf]tot

for  up to 30 GeV with a theoretical ansatz for higher (however,  indicated errors are certainly too small).

The contribution of the structure term  to the LET formula (1) is illustrated in Fig. 1. The dotted lines are [ddΏpoint, the solid lines are ddΏcalculated for several values of 
[image: image18.wmf]a

from 
[image: image19.wmf]a

= 9.2 (upper curves) to 
[image: image20.wmf]a

= 17.2 (lower curves) with a step δ
[image: image21.wmf]a

= 1.6. The sum (
[image: image22.wmf]a

+
[image: image23.wmf]b

is fixed to be 14.2 (here and further 
[image: image24.wmf]a

and
[image: image25.wmf]b

 are defined in units of 
[image: image26.wmf]3

4

fm

10

-



Fig. 1 shows also the experimental data which have been obtained using the tagged photons method  (University of Illinois at Urbana-Champaign, see F.J Federspiel et. al., Phys.Rev. Lett. 67, 1511 (1991); Saskatchewan Accelerator Laboratory, see  B.E.Mac Gibbon et. al., Phys.Rev. C52, 2097 (1995)).
 The fit with LET- formula to the Urbana experimental data  shown in Fig. 1 gives

             
[image: image27.wmf]a

= 
[image: image28.wmf]4

.

1

2

.

2

6

.

10

±

±

 
[image: image29.wmf]b

=
[image: image30.wmf]4

.

1

2

.

2

6

.

3

±

±

  ( 
[image: image31.wmf]a

+
[image: image32.wmf]b

 =
[image: image33.wmf]fixed

2

.

14

),

       
[image: image34.wmf]a

= 
[image: image35.wmf]9

.

1

7

.

2

8

.

9

±

±

 
[image: image36.wmf]b

=
[image: image37.wmf]4

.

2

2

.

3

5

.

2

±

±

  ( 
[image: image38.wmf]a

+
[image: image39.wmf]b

 is not fixed). 
[image: image40.png]do/dQ, nb/sr

do/dQ, nb/sr

)

___\_\.__.L_s_._\M

ON Dd>MOOOON

— = N DN DNDN
)00 ON PO

oy OO

N

0 50 100150 "

i
O 50 100150
w,MeV

0 50 100150

w,MeV

Fig 1. lllusiration of LET—formulc

LET~-formula

(&+é = 14.2)
a runs with the step da = 1.€
from 9.2 (upper curves)

to 17.2 (lower curves),

Urbang, 1981 [6]

SAL,1995

Powell cross section




Fig. 1. Illustration of LET – formula

Here and further the first quoted error is statistical, the second is systematic.  The fit with the formula got in the theoretical model-dependent approach (MDA), that aims to describe  p scattering up to photons energies comparable to the pion mass, to the SAL experimental data  shown in Fig.1 gives

              
[image: image41.wmf]a

= 
[image: image42.wmf]5

.

0

7

.

0

6

.

0

5

.

12

±

±

±

 
[image: image43.wmf]b

= 
[image: image44.wmf]5

.

0

7

.

0

6

.

0

7

.

1

m

±

±

( 
[image: image45.wmf]a

+
[image: image46.wmf]b

 = 
[image: image47.wmf]fixed

is

5

.

0

2

.

14

±

),    

where the last errors are model-dependent. The some previous experiments, that have been attempted  to determine the proton polarizabilities, are summarized, for example, in Refs. [1, 2].

          An essential improvement of the data on the proton polarizability is important for the test of various nucleon models as well as for the extraction of the neutron polarizability from the data on elastic and inelastic scattering of photons by deuterons.

2. Experimental method

          The aim of the proposed experiment is to determine a model-independent value of proton electric (
[image: image48.wmf]a

) and magnetic (
[image: image49.wmf]b

) polarizabilities with a precision  ≤ 0.5%. This aim could be reached by measurements of the energy dependence of the cross section for p elastic scattering,  dσ(ω,θ)/dΩ, with a statistical accuracy better than 1% in the photon energy of 20(100 MeV for two values of the scattering angle θ (θ about 90º and 130º is assumed). These measurements are problematic within real beam time  using a tagged photons method because of  low intensity of the tagged photons beam (≈ 10
[image: image50.wmf]6

photons /MeV·sec). On the basis of the proposed method these measurements could be done using an untagged bremsstrahlung photon beam of ≈100 MeV energy and of a few μA current. The scattered photons with energy ω′ (ω′ ≈ 20(100 MeV) will be detected by a large volume NaI -spectrometer with a solid angle for detection of 0.025 sr (∆θ ≈ 
[image: image51.wmf])

5

°

±

.

         However measurements of the scattered photons with the -spectrometer alone are not enough for clean separation of the Compton scattering events from the background. For example, an important background reaction is the production of the electron-positron pairs in the electric field of the proton followed by a bremsstrahlung photon emitted by electrons (positrons) in the same field. The information about this effect is contained in Ref. [2] but the data mentioned in there should be divided by factor 2, as the author of these calculations informed us. To avoid the background problems, we propose to detect the recoiled protons in coincidence with the scattered photons. We propose to use a special high pressure hydrogen-filled Ionization Chamber (IC) which serves as both a target and a recoiled proton detector. The recoils will be detected in the energy range 0.8 ≤ Ep ≤ 8 MeV. (Ep-
[image: image52.wmf]w

¢

¢

)-correlations will be used to select clean Compton scattering events (
[image: image53.wmf]w

¢

¢

is the amplitude of a -spectrometer signal expressed in energy units). Two possibilities  have been considered  for the extraction of the relative energy dependence of the values dσ(ω,θ)/dΩ with small enough systematic errors. 

           The first possibility is based on a supposition that the response function of the -spectrometer:

[image: image1.wmf]a




will be determined experimentally in a separate measurement with a sufficient accuracy. Then the differential cross sections dσ(ω,θ)/dΩ averaged over the intervals Δω΄΄ will be determined from integral equation:

            
[image: image54.wmf]w

w

q

w

s

w

w

w

q

g

w

w

w

w

g

g

d

i

P

d

d

d

dN

K

i

Y

i

i

i

p

)

,

(

)

,

(

)

,

(

)]

,

(

[

max

1

max

1

¢

W

ò

=

+

¢

¢

¢

¢

,

where 
[image: image55.wmf]

 EMBED Equation.3  [image: image56.wmf])

,

(

g

g

q

i

Y

p

 is the measured yield of the p-scattering events in intervals 
[image: image57.wmf]w

¢

¢

D

,  K
[image: image58.wmf]1

 the is normalization factor that takes into account the target thickness, the solid angle of the detector, the efficiency of the IC for detection of the recoiled protons; 
[image: image59.wmf]w

w

w

d

dN

)

,

(

max

 is the spectrum of the incident photons; 
[image: image60.wmf]w

w

w

w

w

w

w

¢

¢

¢

ò

=

+

¢

¢

¢

¢

¢

¢

¢

¢

¢

d

i

P

i

i

d

dn

1

)

,

(

)

,

(

is the probability of registration of the scattered photons with energy 
[image: image61.wmf]w

¢

in the amplitude interval 
[image: image62.wmf]²

D

i

w

. The  shape of the incident photon spectrum 
[image: image63.wmf]w

w

w

d

dN

)

,

(

max

 will be determined with the same NaI spectrometer by detecting the incident photons

The second possibility is based on  results of  additional measurements of e scattering permitting to avoid measurements of the response function of the -spectrometer and the shape of the incident spectrum 
[image: image64.wmf]w

w

w

d

dN

)

,

(

max

. The scattering angle 
[image: image65.wmf]e

g

q

 will be fixed by the condition:


[image: image66.wmf])

cos

1

(

1

)

cos

1

(

m

1

p

;

 

;

e

e

p

m

p

e

p

e

g

g

q

q

g

w

g

w

g

w

g

w

-

-

=

¢

=

¢

=

.
In our case it makes  
[image: image67.wmf]e

g

q

= 1.89( and 2.51(  corresponding to 
[image: image68.wmf]p

g

q

= 90( and 130(. It is assumed that the peaks of the total absorption of the photon with energy 
[image: image69.wmf]i

w

¢

 will be selected from two-dimensional distribution of the events 
[image: image70.wmf])

(

w

¢

¢

-

p

E

. Then


[image: image71.wmf]w

w

e

w

w

w

q

w

s

w

q

w

s

w

e

q

w

w

w

w

w

w

g

w

w

w

g

d

d

dN

d

d

K

d

d

d

K

i

i

i

i

i

i

i

i

p

d

dN

p

Y

)

(

)

,

(

)

,

(

)

,

(

)

(

)]

,

(

1

1

'

1

max

0

)

,

(

[

max

¢

ò

W

=

W

¢

ò

=

+

+

+

¢

¢

¢

 ,
where 
[image: image72.wmf]

 EMBED Equation.3  [image: image73.wmf])

,

(

p

i

p

Y

g

q

g

 is the yield of the scattered photons in the energy interval 
[image: image74.wmf]i

w

¢

D

, 
[image: image75.wmf])

(

w

e

¢

is the photon detection efficiency, 
[image: image76.wmf]i

0

w

 is the average energy in the interval 
[image: image77.wmf]i

w

¢

D

 and  
            
[image: image78.wmf]ò

¢

ò

¢

=

+

+

¢

1

1

1

1

01

0

w

D

w

w

w

D

w

w

g

g

g

g

g

g

w

w

e

w

w

w

w

w

e

w

w

w

q

q

W

q

w

s

W

q

w

s

d

)

(

d

)

,

(

dN

d

)

(

d

)

,

(

dN

)

,

(

Y

)

,

i

(

Y

d

)

,

(

d

d

)

,

(

d

max

max

p

p

p

p

p

p

i

i

i

i

.


The ratio 
[image: image79.wmf]i

A

d

d

dN

d

d

dN

i

i

i

º

ò

¢

ò

¢

D

+

D

+

1

1

1

)

(

)

,

(

)

(

)

,

(

max

max

w

w

w

w

w

w

w

w

e

w

w

w

w

w

e

w

w

w

 is obtained by detection (with the same detector) of the photon scattered on free electrons, the scattered photon and the recoil electron being detected in coincidence. Then 


[image: image80.wmf]i

theory

e

i

i

e

e

e

e

e

A

i

Y

Y

´

ú

ú

û

ù

ê

ê

ë

é

=

)

,

(

)

,

(

)

,

(

)

,

1

(

0

01

g

g

g

g

g

g

q

w

s

q

w

s

q

q

,  where 
[image: image81.wmf]i

theory

e

i

i

e

ú

ú

û

ù

ê

ê

ë

é

)

,

(

,

(

0

01

g

g

q

w

s

q

w

s

is the calculated Compton differential cross section ratio.


Thus the values 
[image: image82.wmf]W

d

d

p

i

)

,

(

0

1

g

q

w

s

 are determined from proportion:


[image: image83.wmf]=

W

d

d

p

i

)

,

(

0

g

q

w

s



 EMBED Equation.3  [image: image84.wmf]W

d

d

p

)

,

(

01

g

q

w

s



 EMBED Equation.3  [image: image85.wmf]i

e

i

i

e

ú

ú

û

ù

ê

ê

ë

é

)

,

(

)

,

(

0

01

1

g

g

q

w

s

q

w

s



 EMBED Equation.3  [image: image86.wmf])

,

1

(

)

,

(

)

,

(

)

,

1

(

p

p

p

p

e

e

e

e

Y

i

Y

i

Y

Y

g

g

g

g

g

g

g

g

q

q

q

q


(
[image: image87.wmf]W

d

d

p

)

,

(

01

g

q

w

s

 is  the free parameter).


 In order to have relative systematic errors of the values 
[image: image88.wmf]W

d

d

p

i

)

,

(

0

g

q

w

s

 for the largest i  (i max about 20(25 is assumed) less than 1% one should provide:


the accuracy of the energy scale of NaI-spectrometer  at a level of 1(2%;


the accuracy of 
[image: image89.wmf]°

±

q

g

01

.

0

is

e

 (on the base L = 10 m);


the difference between the effective IC volume for long and short tracks is estimated to be about 0.3%.

           The plan view of the experimental layout is shown in Figs. 2, 3.


[image: image90.wmf]NaI

Cosmic shielding

Cocmic schielding

Collmator

Hydrogen Ionization Chamber-

Target

Cleaning magnet

Collimator

Polyethylene 'FILTER' 30 cm

Bending Magnet

Collimator

Radiator 0.1 Rad.Lenghts

gamma beam

Anticoincident

plastic Scintillator


Fig. 2. Plan view of the experimental layout (p scattering)


[image: image91.wmf]Cleaning magnet

Collimator

Polyethylene 'FILTER' 30

cm

Bending Magnet

Collimator

Radiator 0.1

Rad.Lenghts

Target

Collimator

Bending

Magnet

NaI

L=10m

gamma beam


Fig. 3. Plan view of the experimental layout (e scattering)

Fig. 4  shows  the result  of fitting by the LET-formula with four free parameters [
[image: image92.wmf]a

,
[image: image93.wmf]

 EMBED Equation.3  [image: image94.wmf]b

,  
[image: image95.wmf])

(

1

1

q

b

, 
[image: image96.wmf])

(

2

2

q

b

] 

of  the  Monte-Carlo  simulated  experiment  with  the  incident  bremsstrahlung   (E
[image: image97.wmf]max

g

 = 130 MeV)   beam scattered to θ1  = 60( and θ2  = 135( [2].


[image: image98.wmf]0

0.25

0.5

0.75

1

0

2

4

6

8

10

number of events / 100000

statictical errors

Ðÿä1

Ðÿä2

Db

Da


Fig. 4. Statistical errors in function of the number of detected scattering events

 Here 
[image: image99.wmf]a

D

 and  
[image: image100.wmf]b

D

 are the statistical errors of the parameters 
[image: image101.wmf]a

 and 
[image: image102.wmf]b

 depending on the number of simulated scattering events for each angle.

3. Ionization chamber-target-detector of recoiled proton


The hydrogen high pressure ionization chamber (100 bars, ( 3 ( 1022 protons/cm2 ) consists of about 20 anodes in the form of strips (2.5 mm width each) in order to diminish the background produced by Compton recoiled electrons and 
[image: image103.wmf]-

+

e

e

 pairs. The strips are oriented along the average recoil protons tracks direction. The projection of the track on the anode plane lies within one or two strips. The scheme of the anode block and some characteristics of valid anode signals are shown in  Fig. 5.


[image: image104.wmf]Side View

Cathode -60kV

            Grid -5kV

                 Gamma beam

+

17

0.6

Top View

         Gamma beam

    20

The dimensions are in mm

             Distance between

strips 0.5. The strips width is 2.5

p

         V

                                                     The energies of protons         Ep=(0,4-8.0)MeV

                                                     The range of protons             Rp=0,25mm-40mm

                                                     The drift velosity                    v = 0.5mm/100ns

                                                     The duration and amplitude     80ns      i=(0.42-8)MeV/80ns

                                                      of signals                                800ns    i=(0.4-1)Mev/100ns

                Anode 0 kV

g

10

The anode strips

             Veto strips


Fig. 5.  Principal scheme of the Ionization Chamber electrodes

P = 100 bar, E = 32 keV/cm


The GEANT routine has been used for the background simulations. The background  was calculated for the intensity of the incident bremsstrahlung beam with the energy

             
[image: image105.wmf]]

/

)

[(

/

10

4

)

(

0

)

(

12

130

0

E

Wd

d

s

MeV

x

d

d

dN

W

d

dN

MeV

w

w

w

w

w

w

w

w

w

=

»

=

ò

.


The background anode current  is shown in Table:

                                                                                                                               Table

The average background current at the IC in units of keV/100 ns. 

 In  brackets are the numbers of events during 100 ns

 (thickness of 
[image: image106.wmf]2

H

 between the IC and the end of the cleaning magnet is about 15 cm).

                                                            a ( ionization due to photon scattering inside the IC.

     b ( ionization by the particles produced upstream of IC.

                                                            a + b  ( sum current (average and fluctuations)

N
[image: image107.wmf]
                      
[image: image108.wmf]o

60

=

p

q


                        
[image: image109.wmf]o

20

=

p

q




       a
       b
   a+b
      a
        B
    a+b

 1
14.5(2.2)
121.7(20.1)
136
[image: image110.wmf]±

28
38.8(4.2)
183.2(18.5)
223
[image: image111.wmf]±

47

 2
16.5(2.8)
119.0(20.0)
135
[image: image112.wmf]±

28
38.8(4.2)
183.2(18.5)
229
[image: image113.wmf]±

53

 3
21.8(3.7)
119.0(19.0)
141
[image: image114.wmf]±

30
62.0(5.3)
176.2(14.1)
238
[image: image115.wmf]±

54

 4
27.4(4.4)
116.0(18.8)
143
[image: image116.wmf]±

30
82.0(6.9)
172.4(13.5)
254
[image: image117.wmf]±

52

 5
29.9(5.2)
112.0(18.3)
142
[image: image118.wmf]±

29
106.2(8.5)
167.5(13.0)
274
[image: image119.wmf]±

59

 6
36.4(6.1)
109.0(18.0)
145
[image: image120.wmf]±

30
116.0(9.8)
165.0(12.5)
281
[image: image121.wmf]±

58

 7
41.5(7.3)
106.0(17.5)
148
[image: image122.wmf]±

30
135.0(11.0)
160.9(12.1)
296
[image: image123.wmf]±

62

 8
45.1(7.3)
104.0(16.3)
149
[image: image124.wmf]±

31
147.0(12.0)
156.0(11.6)
303
[image: image125.wmf]±

62

 9
49.8(8.0)
103.0(16.8)
153
[image: image126.wmf]±

31
157.0(13.2)
152.0(11.4)
309
[image: image127.wmf]±

62

10
55.7(8.6)
101.0(16.5)
157
[image: image128.wmf]±

31
177.5(17.8)
144.4(13.9)
327
[image: image129.wmf]±

58

11
56.7(9.4)
100.0(16.3)
157
[image: image130.wmf]±

31
188.0(15.6)
145.5(10.8)
334
[image: image131.wmf]±

65

12
58.7(10.1)
99.0(16.0)
158
[image: image132.wmf]±

31


13
62,5(10.6)
99/0(16.0)
163
[image: image133.wmf]±

32


14
66.1(11.1)
100.0(15.8)
166
[image: image134.wmf]±

32


15
70.0(11.5)
96.5(15.5)    
167
[image: image135.wmf]±

32


16
69.2(11.6)
94.0(15.2)
163
[image: image136.wmf]±

32


17
72.5(12.1)
92.6(14.9)
165
[image: image137.wmf]±

32


18
79.6(12.1)
92.6(14.9)
171
[image: image138.wmf]±

32


19
80.8(12.7)
90.0(14.4)
171
[image: image139.wmf]±

32


 At such intensity of the photon beam about 
[image: image140.wmf]6

10

 useful events will be obtained after 400(500 hours of the beam time.

In addition we would like to notice that the proposed experimental method would be suitable for study of the elastic and inelastic photon scattering on deuteron to obtain the electric and magnetic neutron polarizabilities with high accuracy.

Acknowledgements

             The authors thank M.Borkowski, G.Kolomensky, E.Maev, A.Vasiliev, A.Vorobyov, N.Zaitsev and  G.Schklyarevsky for fruitful discussions and cooperation.

              This project is supported by INTAS(RFBR, joint grant No IR-97-575. 

References

[1] V.P.Chizhov, in Proceedings of the International Conference on Physics with GeV-Particle  Beams, Jülich, Germany,

      22(25 August 1994  (World Scientific Publishing Co., 1994), p. 268.
[2] D.V.Balin, M.J.Borkowski, V.P.Chizhov  et al., Preprint PNPI-2104, Gatchina, 1996.
� EMBED Equation.3  ���








PAGE  
303

[image: image141.wmf]w

w

w

w

w

¢

¢

=

¢

¢

¢

º

¢

¢

¢

d

)

const

,

(

dn

)

,

(

F

_1063723137.unknown

_1063786478.unknown

_1063786539.unknown

_1063789889.unknown

_1066822795.unknown

_1066823007.unknown

_1067084262.vsd

_1072005928.unknown

_1072006423.unknown

_1077612447.unknown

_1077960839.unknown

_1072006773.unknown

_1072006193.unknown

_1067846392.xls
Fig.4

		0		0

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11



Db
Da

number of events / 100000

statictical errors

0.76

0.62

0.55

0.43

0.43

0.35

0.37

0.3

0.32

0.26

0.28

0.24

0.25

0.22

0.24

0.21

0.23

0.2

0.22

0.19



Лист1

		0

		1		0.76		0.62

		2		0.55		0.43

		3		0.43		0.35

		4		0.37		0.3

		5		0.32		0.26

		6		0.28		0.24

		7		0.25		0.22

		8		0.24		0.21

		9		0.23		0.2

		10		0.22		0.19

		11





Лист1

		0		0

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11



0.76

0.62

0.55

0.43

0.43

0.35

0.37

0.3

0.32

0.26

0.28

0.24

0.25

0.22

0.24

0.21

0.23

0.2

0.22

0.19



Лист2

		0		0		0		0		0		0		0		0		0		0		0

		0.76		0.55		0.37		0.32		0.28		0.25		0.24		0.23		0.22

		0.62		0.43		0.3		0.26		0.24		0.22		0.21		0.2		0.19



1

2

4

5

6

7

8

9

10

11



Лист3

		0		0

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11



number of  events

0.76

0.62

0.55

0.43

0.43

0.35

0.37

0.3

0.32

0.26

0.28

0.24

0.25

0.22

0.24

0.21

0.23

0.2

0.22

0.19



		0		0

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11



dfg

0.76

0.62

0.55

0.43

0.43

0.35

0.37

0.3

0.32

0.26

0.28

0.24

0.25

0.22

0.24

0.21

0.23

0.2

0.22

0.19



		0		0

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11



0.76

0.62

0.55

0.43

0.43

0.35

0.37

0.3

0.32

0.26

0.28

0.24

0.25

0.22

0.24

0.21

0.23

0.2

0.22

0.19



		





		






_1072005085.unknown

_1072005927.unknown

_1072005006.unknown

_1067765440.vsd

_1067076914.unknown

_1067077356.unknown

_1067083917.vsd

_1067077258.unknown

_1066823025.unknown

_1066825677.unknown

_1066825678.unknown

_1066823072.unknown

_1066823018.unknown

_1066822967.unknown

_1066822989.unknown

_1066822998.unknown

_1066822977.unknown

_1066822866.unknown

_1066822897.unknown

_1066822846.unknown

_1066821335.unknown

_1066822734.unknown

_1066822760.unknown

_1066822768.unknown

_1066822749.unknown

_1066822621.unknown

_1066822668.unknown

_1066821360.unknown

_1065428587.unknown

_1066396602.unknown

_1066462200.unknown

_1066462688.unknown

_1066462706.unknown

_1066462657.unknown

_1066397300.unknown

_1066397371.unknown

_1066211835.unknown

_1066211937.unknown

_1065428640.unknown

_1066136945.unknown

_1065265386.unknown

_1065265408.unknown

_1065261794.unknown

_1065262980.unknown

_1063786727.unknown

_1063789129.unknown

_1063789743.unknown

_1063789797.unknown

_1063789235.unknown

_1063788997.unknown

_1063789096.unknown

_1063788930.unknown

_1063723335.unknown

_1063723770.unknown

_1063785452.unknown

_1063785512.unknown

_1063784909.unknown

_1063785119.unknown

_1063784790.unknown

_1063723440.unknown

_1063723288.unknown

_1063710846.unknown

_1063721914.unknown

_1063722048.unknown

_1063721637.unknown

_1063709622.unknown

_1063709796.unknown

_1063708616.unknown

